| Unwanted Fire Signals policy |  |
| --- | --- |
| The purpose of this policy is to explain the methodology and procedures to reduce the occurrence of unwanted fire signals and associated unnecessary appliance movements, and to ensure attendance is managed on a risk appropriate basis. |  |
| OWNER | Head of Protection & Organisational Performance |
| LAST REVIEW | February 2020 |
| REVIEW DUE DATE | 12 months |
| VERSION CONTROL | Controlled by Corp Docs |
| OTHER (CROSS) REFERENCES: N/A |  |

| CONTENTS |  |  |
| --- | --- | --- |
| Section 1 2 3 4 5 6 7 | Title PART 1 - POLICY SECTION Introduction and Scope of Policy Impact of Unwanted Fire Signals Call Challenging and Mobilising Agreements with Alarm Receiving Centres Pre-determined Attendances Monitoring and Enforcement of Premises Roles and Responsibilities | Page 3 3 4 5 6 7 9 |
| Procedure 1 2 3 4 5 6 | PART 2 - PROCEDURE SECTION Dealing with Problematic Alarm Receiving Centres Reaching Standard Agreements with Alarm Receiving Centres Enhancing AFA Pre-Determined Attendance Reverting AFA Pre-Determined Attendance to Standard Level Placing Premises on Staged Monitoring Approach Removing Premises from Staged Monitoring Approach | Page 11 11 12 12 13 13 |
| Appendix 1 – Call Handling Flowchart – Calls from ARCs Appendix 2 – Call Handling Flowchart – Calls from Occupiers Appendix 3 – Call Handling Flowchart – Calls from Passers-by Appendix 4 – CFRS and ARC ‘Example Agreement’ Appendix 5 – Non Compliant ARC Referral Form Appendix 6 – PDA Upgrade Request Form Appendix 7 – Return to Standard PDA Request Form Appendix 8 – Removal from Staged Monitoring Form Appendix 9 – List of sleeping risk/exempt premises |  | 15 16 17 18 22 24 26 28 30 |

PART 1 - POLICY SECTION

Introduction

  - Definition of an Unwanted Fire Signal

An Unwanted Fire Signal (UwFS) is defined by the British Fire Protection 	System Association as “any alarm signal other than a genuine fire or test 	signal”. Any false alarm which is subsequently passed to the fire and 	rescue service is classed as an “Unwanted Fire Signal”.

  - Scope of Policy

It is widely recognised that the installation of modern fire safety management systems and the increasing use of Automatic Fire Detection

(AFD) systems, provides the earliest possible warning of fire. They are a key factor in providing an early warning of fire for building occupants. The occurrence of UwFS do however, have a significant impact on fire and rescue service resources, an issue which is addressed through the procedures detailed in this policy.

The purpose of the UwFS policy is to:

  - Reduce the number of false alarm activations generated by fire detection and fire alarm systems;

  - Deliver significant reductions in appliance movements, unnecessary cost expenditure and disruption to both Cheshire Fire and Rescue Service (the Service) and the business community; and

  - Reduce the risk to the public and firefighters through unnecessary emergency responses.

Impact of Unwanted Fire Signals

2.1	The Service attends hundreds of UwFSs every year from premises with AFD systems. On average only 1.8% are found on arrival to be confirmed fires, with less than 1% requiring firefighting action by the Service. Mobilising appliances to each of these calls causes a significant impact on the Service for the following reasons:

- Fire appliances are not available to respond to genuine life threatening emergencies.

- Responding to UwFS under blue-light conditions poses an unnecessary risk to staff and other road users.

- Operational crews are disrupted whilst undertaking other core tasks such as training and community safety activities.

- Financial costs are incurred for fuel and there is an associated impact on the environment caused by the appliance movements.

- On-Call firefighters require payment for being alerted and are unnecessarily disrupted from their primary employment.

Call Challenging and Mobilising

3.1	On occasions when Automatic Fire alarm (AFA) calls are received by the Service, North West Fire Control (NWFC) will adopt a call challenging procedure as detailed below and in Appendices 1-4 of the policy. The call challenge process is designed to 	enhance the quantity and quality of information regarding the situation, allowing the Fire Control Operator to mobilise the most appropriate operational response, in most circumstances, only when confirmation of a fire can be given by the caller.

3.1.1	Twenty four hours a day, seven days a week there is no automatic 	attendance to non-sleeping risk premises, unless the caller is at the 	building and reasonably believes a fire has broken out. High rise 	buildings and those industrial sites which are licensed under 	either 	the COMAH Regulations 1999 or REPPIR Regulations 2001 	are 	excluded due to their unique off-site risk.

3.2	Due to the nature of premises which contain persons who may be asleep or bedridden, the call challenge procedure will not apply to any sleeping risk premises (sleeping risk premises are detailed in appendix 9) and these premises will continue to receive an emergency attendance.

3.3	Whilst the process should be adhered to as a form of structured guidance, 	the Duty Control Manager will at all times retain the discretion to vary the 	attendance based on the information available to them at the time.

3.4	Calls Received from Alarm Receiving Centres (ARCs) (Appendix 1)

3.4.1	In line with the Standard Agreement outlined in Section 4.2 of this 		policy, it will, upon occurrence of an alarm signal, be the role of the 		ARCs to make contact with the premises and confirm if a fire 		exists, prior to informing NWFC. This will in most situations 		           ensure the Service is not needlessly informed of UwFS calls to 		which no response is required.

3.4.2	There will however be occasions whereby this procedure is not 		followed and calls reporting AFA signals will be received from 		ARCs. In these circumstances the following ‘call challenge’ should 		be applied.

3.4.3	In the case that calls are received from ARCs which have not 		completed a ‘call back’ to the premises, the ARC should be asked 		to make a ‘call back’ and advise the premises to ring 999 should 		they discover a fire. If the ARC is uncooperative and refuses to 		undertake a ‘call back’, they should be informed that the Service 		will not be attending and the procedures in Section 4.4 followed.

3.4.4	If a call is received from an ARC which has not been able to make

contact with anybody at the premises, they should be informed that the Service will not be attending and the procedures in Section 4.4 followed.

3.5	Calls Received Directly from Occupiers (Appendix 2)

3.5.1	The occupier will be asked to confirm if there is a fire. If it is 			confirmed, the full PDA will be mobilised for premises.

3.5.2	Where the caller cannot confirm the cause of the alarm, they will be asked to investigate and are to be advised that “No response will be made by the fire and rescue service unless you are able to confirm there is a fire”. Callers must be informed that should they discover a fire they should immediately ring 999 to enable an emergency response to be mobilised.

3.6	Calls Received from a Passer-by (Appendix 3)

3.6.1	On occasions where calls are received from a passer-by to report a fire alarm sounding, the PDA for an AFA will be mobilised. Callers should not be challenged to attempt an investigation 	as they are unable to represent the Responsible Person and do not have knowledge of the premises fire safety management systems.

3.6.2	The caller should also be asked if there are any additional signs of fire (e.g. smell of burning, smoke issuing), allowing the Fire Control Operator to mobilise the full PDA if appropriate.

3.7	Calls Received from Auto-Dial Systems

3.7.1	When calls are received from Auto-Dial systems and a contactable 		telephone number is available, the Fire Control Operator should 		return the call and advise the premises that “No response will be 		made by the fire and rescue service unless you are able to 		confirm there is a fire”. The premises must be informed that 		should they discover a fire they should immediately ring 999 to 		enable an emergency response to be mobilised.

3.8	Subsequent Calls Providing Additional Information

In the circumstances that an appliance is mobile to an AFA call and 	further information is received to indicate that this is a confirmed false 	alarm, the attendance should be cancelled.

Agreements with ARCs

4.1	In order to facilitate the call challenging approach, close co-operation will 	be required between the Service and the various ARCs which monitor 	premises across the Service area. For the purposes of this policy, the 	term ARC is inclusive of all Telecare Service Providers who have 	responsibilities for monitoring domestic premises and passing alarm calls 	to the Service.

4.2	To ensure standardisation in the way this policy is delivered, the Service 	has developed an Example Agreement (Appendix 4) to which all ARCs 	will be required to conform to in order to continue receiving an appropriate 	response from the Service to alarm activations in their client’s premises.

4.3	Implementation of an Agreement with an ARC will be the responsibility of 	the Station Manager (Protection) Policy who will be the first point of 	contact for ARCs and will facilitate advice and guidance surrounding 	implementation of the new policy.

4.4	It is expected that on occasions issues will be experienced whereby ARCs do not conform to the requirements expected of them in an Agreement which may lead to difficulty in applying this policy during the call handling process. In these circumstances the Fire Control Operator will record the details of the issue (Appendix 5) and forward the form to the Station Manager – (Protection) Policy who will contact the ARC in order to discuss the issue.

4.5	The policy was amended in April 2017 to include the non-attendance at non-sleeping risks 24 hours a day, twenty four hours a day, seven days a week (see section 3.1.1), unless the caller is at the premises and confirmed a fire.  ARCs were subsequently informed of this policy change.

Pre-Determined Attendance (PDA) to AFA Calls

5.1	For AFAs the PDA will consist of one pump, with the exception of high rise blocks of flats which will receive a PDA of 3 pumps.  This applies to all premises.

5.2	In exceptional circumstances it may be necessary to increase the PDA for an AFA. Such premises would initially be identified by operational crews through the 72d process or by Protection staff who will then complete an ‘exemption form’ (Appendix 5), to explain the reasons warranting the increase in PDA. Authorised exemptions apply only on a temporary basis and must also be one of the property types identified as a sleeping risk process (e.g. a hospital undergoing major construction work).

5.3	To ensure a consistent approach, all requests for PDA amendments to 	AFA calls should be checked by the relevant unitary Protection Station 	Manager and forwarded to the Head of Protection & Organisational 	Performance for authorisation. A tag request should then be sent to the 	Mobilising System updates inbox in order to inform NWFC of this 	change.

5.4	Following approval of a PDA increase, locally based Fire Safety Inspecting Officers will make contact with the premises and develop a specific action plan to improve the premises’ fire safety management systems and return the premises to the standard PDA. This should be completed using the form contained as Appendix 7.

5.5	Priority Allocation

AFA calls, where the call challenge procedure determines that an 	attendance to an alarm signal is required, should be classified as 	‘Priority 4’ calls on the Mobilising System.

This is used to ensure that appliances proceeding to AFA calls 	remain, at the discretion of the Duty Control Manager, available for 	re-	direction to incidents of a more serious nature.

Monitoring and Enforcing Premises

6.1	Whilst the ‘call challenge’ process will reduce the number of UwFS calls attended, some premises may continue to have an unacceptably high number of activations (the call challenge is not applied to sleeping risk premises).

6.2	In order to target problem premises the Service uses the staged system, where the response to AFA calls is based on the number of UwFS previously attended at the premises within a set time period.

6.3	For the purposes of monitoring and enforcing premises on complex sites with multiple occupiers, Fire Safety Inspecting Officers should seek guidance from their local Protection Station Manager who will advise on the application of this policy.

6.4	Stage 1

If the Service responds to 3 or more UwFS in a rolling 48 day period or 2 UwFS in a rolling 28 day period, the affected premises are placed on Stage 1 and trigger the following action points:

- A letter - “Notification of premises being placed on stage 1 UwFS monitoring” will be sent to the responsible person.

- A Fire Safety Inspecting Officer will visit the premises to investigate the cause of the alarm and must consider providing a “stage 1 UwFS – plan of action” in order to assist in reductions.

- A full Fire Safety Audit will be undertaken if one has not been completed in the previous 12 months.

- The Service will continue to apply the same call challenging policies to the property and respond as appropriate.

6.5	Stage 2

If following Stage 1, the Service again responds to 3 or more UwFS in a rolling 48 day period or 2 UwFS in a rolling 28 day period the premises will automatically proceed to Stage 2.  The Stage 2 criteria will start from when a Fire Safety Inspecting Officer visits a premises (as detailed in Stage 1 above).

At this point the premises no longer receives any response from the Service to AFA calls until such time that they can demonstrate their ability to maintain an acceptable automatic fire detection system. A letter - “Notification of premises being placed on stage 2 UwFS monitoring” will also be sent to the Responsible Person.

Where a premises reaches Stage 2, the Fire Safety Inspecting Officers will consider the use of an enforcement notice to ensure the responsible person is meeting their requirements of maintaining a safe environment under the Regulatory Reform (Fire Safety) Order 2005 (FSO).

6.5.1   All sleeping risk premises are excluded from stage 2 requirements.

Therefore all sleeping risks will continue to receive an emergency 	response for all AFAs.  A Fire Safety Inspecting Officer will 	continue to work with the premises to reduce UWFS as detailed 	under Stage 1 and may take any enforcement action considered 	appropriate

6.6	For premises in Stage 1, if following issue of an stage 1 UwFS – “plan of action” or Fire Safety Inspecting Officer visit, no further activations are received in the subsequent 48 day period, the premises is to be removed from Stage 1.  Where further alarms occur but do not reach the benchmark to proceed to Stage 2, the premises must sustain a 48 day period following each activation before it becomes eligible for removal from the staged approach.

Following removal from the staged approach, the premises is effectively 	‘reset’ and will no longer be allocated a stage unless again reaching the 	Stage 1 benchmark. Removal from Stage 1 will not require authorisation 	and should be managed by the Fire Safety Inspecting Officers.  A letter - “removal of premises from staged monitoring” will be sent to the responsible person at this point.

6.7	For premises in Stage 2, it will be the responsibility of the responsible person within the premises to make contact with the Service, as and when they believe they have been able to resolve the issues that were causing the UwFS problem. A Fire Safety Inspecting Officer will then visit the premises to ascertain whether the necessary adjustments to maintain an acceptable fire detection system have been made. Should this be the case the officer should complete the form (Appendix 8), which should be forwarded to the relevant Protection Station Manager for authorisation. Following removal from the staged approach the premises is effectively ‘reset’ and will no longer be allocated a stage unless again reaching the Stage 1 benchmark.  A letter - “removal of premises from staged monitoring” will be sent to the responsible person (the same as removal from Stage 1).

6.8	It will be the responsibility of the Station Manager of each local Protection Office to monitor the ongoing transition of premises between stages. On a weekly basis any amendments to Stage 2 premises 	will be validated and forwarded to Control by the Station Manager – Protection Policy for updating on the mobilising system.

Roles and Responsibilities

7.1	Fire Control

To receive calls and use these procedures to apply a ‘call challenge’ as detailed in Appendices 1-4 of this policy.

NWFC will retain responsibility for updating the Intergraph mobilising system with information relating to specific premises which will assist in the call challenge and enforcement process.

To assist in the monitoring and enforcement process, Control staff will 	ensure that where possible a specific address is taken during the call 	handling process. This is particularly important on large sites with multiple 	occupiers which are often classified as one premises for mobilising 	purposes.

Where ARCs do not comply with the requirements of the standard agreement, Control staff will inform the Station Manager – Protection Policy using the form in Appendix 5.

7.2	Watch Managers – Fire Control

The Duty Control Manager will monitor the application of this policy by 	Fire Control Operators and support them in the decision making process.

The Duty Control Manager will at all times retain the discretion to adapt 	the mobilised attendance based on information available to them through 	the call handling process.

7.3	Operational Crews and Incident Commanders

Operational crews will attend AFA calls to which they are mobilised and

identify whether the alarm has been caused by an UwFS. The cause will 	be thoroughly investigated and communicated to the occupier to ensure 	all reasonable measures are implemented to prevent a re-occurrence.

In order to accurately record and analyse data relating to UwFS 	attendances, Incident Commanders should ensure that an accurate 	address, contact name, cause and location within the building is obtained.

7.4	Station Manager – (Protection) Policy

The Station Manager – (Protection) Policy will have responsibility for 	ensuring the 	policy is implemented efficiently across the organisation and 	will be the first point of contact for Service managers who have queries 	regarding its 	application.

The Station Manager – (Protection) Policy will also be responsible for monitoring the overall performance of the policy in delivering a reduced number of calls and report back to the Head of Protection & Organisational Performance on the need for adaptation or changes to the policy as per the Performance Management elements described in Section 8.1.

7.5	Fire Safety Inspecting Officers

In accordance with the staged approach outlined in Section 6.3, Fire Safety Inspecting Officers will monitor the number of UwFS calls received from premises in their portfolio area and take the action described including site visits and action planning for problem premises. Upon reaching Stage 2, Fire Safety Inspecting Officers will, 	in discussion with their line manager, also be responsible for considering the use of enforcement action.

Fire Safety Inspecting Officers may also use their discretion to offer 	advice to premises who are nearing the Stage 1 banding or where 	targeted intervention following a single activation may prevent the 	occurrence of future calls.

Where premises have been granted an increase in the Pre-determined 	Attendance for AFA calls, the relevant Fire Safety Inspecting Officers will 	be responsible, as outlined in Section 5.4, for developing specific 	guidance to improve fire safety at the premises and reduce the PDA 	accordingly.

To ensure accurate application of this policy, Fire Safety Inspecting 	Officers must ensure that they confirm the accuracy of addresses where 	we have attended UwFSs, particularly on complex sites with 	multiple 	occupiers.

7.6	Protection Station Manager – Unitary Performance Area

The Station Manager will monitor the ongoing use of the staged system in 	their unitary area and ensure that progress is being made in accordance 	with the guidelines described in Section 6.8.

As per Section 6.8 they will also be responsible for monthly finalisation of the stage allocations for premises in their area for forwarding to Headquarters. This will allow the mobilising system to be updated as necessary.

7.7	Business Safety Manager

The Business Safety Manager will work closely with Corporate Communications to deliver a communications strategy which informs both Service employees, Cheshire premises and any other relevant stakeholders affected by the policy.  The Business Safety Manager will also assist with the agreements with the ARCs.

PART 2 – PROCEDURE SECTION

Procedure 1

- Dealing with Problematic Alarm Receiving Centres

|  | - Process/Action | - Responsibility |
| --- | --- | --- |
| 1 | Fire Control Operator will identify any issue where they have not been able to follow the processes outlined in this policy due to an issue caused by an Alarm Receiving Centre. The issue should be discussed with the Duty Control Watch Manager. | NWFC |
| 2 | Fire Control Operator to complete Form Number 1 contained within Appendix 5 with required details and forward to the Station Manager – (Protection) Policy | NWFC |
| 3 | Station Manager – (Protection) Policy to make contact with the ARC by telephone to investigate the reasons why the Standard Agreement was not conformed with. | Station Manager – (Protection) Policy |
| 4 | Advice and assistance should be given to improve the ARCs compliance with the standard agreement. | Station Manager – (Protection) Policy |
| 5 | Contact and discussion to be recorded by the Station Manager – (Protection) Policy for future reference. | Station Manager – (Protection) Policy |
| 6 | Recurring issues should be discussed with the Head of Protection & Organisational Performance to evaluate the possibility of suspending our call handling agreement with the ARC. | Station Manager – (Protection) Policy |

Procedure 2

- Reaching Agreement with Alarm Receiving Centres

|  | - Process/Action | - Responsibility |
| --- | --- | --- |
| 1 | An Agreement, based on the Example Agreement, is to be forwarded to the Alarm Receiving Centre with a covering letter explaining the purpose of the new agreement. Contact details should also be made available for the ARC to discuss any queries with a representative from the Service. | Station Manager – (Protection) Policy |
| 2 | It may be necessary to facilitate a meeting with a representative from the ARC to further explain the requirements of the standard agreement. | Station Manager – (Protection) Policy |
| 3 | Upon receiving a signed Agreement from the ARC this should be forwarded to the Monitoring Officer and the Head of Protection & Organisational Performance for information purposes. | Station Manager – (Protection) Policy |
| 4 | For call handling purposes, Control should then be informed that the ARC has agreed the standard agreement with the Service. | Station Manager – (Protection) Policy |
| 5 | The list of ARCs used by Control should then be updated to assist control in identifying whether specific ARCs conform to the agreement and its requirements. | NWFC |

Procedure 3

Enhancing AFA Pre-Determined Attendance

|  | - Process/Action | - Responsibility |
| --- | --- | --- |
| 1 | Fire Safety Inspecting Officers or Operational Crews will identify a high level of risk within a building which they believe requires the PDA to an AFA call to exceed the standard attendance of one pumping appliance. As necessary, such risks should be communicated to operational crews through the use of the GEN12 process and the Site Specific Risk Information database. | Operational Crews or Fire Safety Inspecting Officers |
| 2 | The Form Number 2 contained within Appendix 6 should be completed and forwarded to the relevant Protection Station Manager for evaluation. This should be completed within 3 working days. | Operational Crews or Fire Safety Inspecting Officers |
| 3 | The form should be evaluated to ensure that the premises have a high risk level which warrants an increase in the PDA. If appropriate, the form should then be forwarded to the Head of Protection & Organisational Performance and Station Manager – (Protection) Policy. | Protection Station Manager |
| 4 | The request will be reviewed and authorised/declined and the details of any upgrade premises forwarded to Control and Station Manager – (Protection) Policy. | Head of Protection & Organisational Performance |
| 5 | Control will add a tag to the premises on the mobilising gazetteer in order to amend the response made to AFA calls | NWFC |

Procedure 4

Reverting AFA Pre-determined Attendance to Standard Level

|  | - Process/Action | - Responsibility |
| --- | --- | --- |
| 1 | The aligned Fire Safety Inspecting Officer will visit the premises following an upgrade of the PDA to assess the likely timescales which will be involved in returning the premises to the standards PDA | Fire Safety Inspecting Officers |
| 2 | Specific guidance will be issued to assist the premises in reducing the level of risk to an acceptable standard and an action plan issued. | Fire Safety Inspecting Officers |
| 3 | The aligned Fire Safety Inspecting Officer will re-visit the premises after a time period identified in the action plan to review progress. | Fire Safety Inspecting Officers |
| 4 | Should the necessary adjustments have been made the form contained within Appendix 7 should be completed with details of the changes and forwarded to the relevant Protection Station Manager for evaluation. | Fire Safety Inspecting Officers |
| 5 | The Form Number 3 should be evaluated for compliance with the demands of the action plan and, if appropriate, forwarded to the Head of Protection & Organisational Performance. | Fire Safety Inspecting Officers |
| 6 | The request will be reviewed and authorised/declined and the details of the return to the normal PDA forwarded to Control | Head of Protection & Organisational Performance |
| 7 | Control will add a tag to the premises on the mobilising gazetteer in order to amend the response made to AFA calls | NWFC |

Procedure 5

- Placing Premises on Staged Monitoring Approach

|  | - Process/Action | - Responsibility |
| --- | --- | --- |
| 1 | Premises identified as having reached benchmark number of UwFS calls and updated on the UPG spreadsheet | Fire Safety Inspecting Officers |
| 2 | Visit to premises and implementation of Action Plan if in Stage 1 | Fire Safety Inspecting Officers |
| 3 | Forwarding of information to Control for premises in Stages 2 – completed on weekly basis | Protection Station Manager |
| 4 | Control will add a tag to the premises on the mobilising gazetteer in order to amend the response made to AFA calls | NWFC |

Procedure 6

- Removing Premises from Staged Monitoring Approach

|  | - Process/Action | - Responsibility |
| --- | --- | --- |
| 1 | Responsible Person to inform the Service when they believe they have taken sufficient actions to maintain an acceptable fire detection system | Responsible Person |
| 2 | Fire Safety Inspecting Officer to visit premises to confirm whether they believe the stage allocation should be removed | Fire Safety Inspecting Officers |
| 3 | As necessary complete Form Number 4 located within Appendix 8 and forward to the local Protection Station Manager for approval | Fire Safety Inspecting Officers |
| 4 | The request will be reviewed and authorised/declined and the details of any upgrade premises forwarded to Control via the UPG spreadsheet | Protection Station Manager |
| 5 | Control will remove the tag to the premises on the mobilising gazetteer in order to amend the response made to AFA calls | Control |

- APPENDIX 1 – Call Handling Flowchart - Calls Received from ARCs

PREMISES STATE CONFIRMED FIRE

ALARM SIGNAL ONLY

WHY DO YOU NEED CHESHIRE FIRE & RESCUE SERVICE?

HAS THE ARC

INVESTIGATED THE CAUSE OF ALARM?

NO

YES

WHY?

NOT FOLLOWED STANDARD AGREEMENT

ARC UNABLE TO MAKE CONTACT WITH

PREMISES

CONFIRMED

FIRE

CONFIRMED

FALSE ALARM

INFORM ARC THAT NO RESPONSE WILL BE MADE UNLESS FIRE IS CONFIRMED

NO ATTENDANCE MADE

MOBILISE FULL PDA

IS PREMISES A SLEEPING RISK/EXEMPTED (AS IN APPENDIX 10)

YES

NO

MOBILISE AFA PDA

INFORM ARC THAT NO RESPONSE WILL BE MADE UNLESS THE FIRE IS CONFIRMED

APPENDIX 2 – Call Handling Flowchart - Calls Directly from Occupiers

WHY DO YOU NEED CHESHIRE FIRE & RESCUE SERVICE?

INFORM OCCUPIER THAT NO RESPONSE WILL BE MADE UNLESS FIRE IS CONFIRMED

ADVISE RING 999 IF FIRE CONFIRMED

ALARM SOUNDING ONLY

CONFIRMED FIRE

IS PREMISES A SLEEPING RISK/EXEMPTED (AS IN APPENDIX 10)

YES

NOT AWARE OF FIRE SERVICE POLICY

MOBILISE AFA PDA

NO

HAS THE OCCUPIER

INVESTIGATED THE CAUSE OF ALARM?

NO

YES

WHY?

OUTCOME?

REFUSING/UNABLE TO

INVESTIGATE CAUSE

CONFIRMED

FIRE

CONFIRMED

FALSE ALARM

MOBILISE FULL PDA

INFORM ARC THAT NO RESPONSE WILL BE MADE UNLESS THE FIRE IS CONFIRMED

NO ATTENDANCE MADE

- APPENDIX 3 – Call Handling Flowchart - Calls from Passer-by

APPENDIX 4 – Cheshire Fire & Rescue Service and ARC ‘Example Agreement’

CHESHIRE FIRE AND RESCUE SERVICE

and

<<name>>

STANDARD AGREEMENT FOR:

ALARM RECEIVING CENTRES AND TELECARE SERVICE PROVIDERS

(The ‘Agreement’)

THIS AGREEMENT is executed as a deed the <<date>>

BETWEEN:-

- CHESHIRE FIRE AUTHORITY, SADLER ROAD, WINSFORD CW7 2FQ (‘the Service’)

and

- <<name>>, <<address>>, (‘the Operator’):

together being ‘the Parties’

WHEREAS:-

- Calls received from the Operator will be monitored by Cheshire Fire and Rescue Service to ensure system reliability. Where reliability falls below the level specified the Operator and the premises that they represent. Steps will then have to be taken to reduce the number of false alarms passed to the Service by as a result of automatic fire detection systems.

- Use of the Authorities emergency telephone line is subject to conformity with the terms and conditions described below.

NOW IT IS HEREBY AGREED BY AND BETWEEN THE PARTIES as follows:

- Subject to the guidelines and procedures described in the second schedule, the provider for a period (‘the Term’) commencing on the date of this agreement (‘Commencement Date’) agrees to allow the Operator the use of the provided emergency line (‘the Emergency Line’) to the control of the Service. The Emergency Line may only be used in to allow the Operator to alert the control room of the Service in the event of a triggered fire alarm at monitored premises and in compliance with the requirements outlined in the second schedule.

- In consideration whereof the Operator hereby agrees as follows:

2.1	To send the Service, on request, the details of any subscriber to 	the Operator including the full name and address, contact 	name 	and telephone number.

2.2	Before use of the Emergency Line, the Operator will attempt to 		contact the Responsible Person (‘RP’) at the premises from 			which the signal has been generated. The Operator should 			confirm with the RP if there is a fire and if this can be confirmed 		the details will be passed to the Service using the Emergency 		Line.

2.3	Where immediate confirmation of a fire cannot be given by the 	RP the Operator will request that confirmation of the fire be 	sought, and 	the RP call the Service using the 999/112 system if 	the presence of a fire is confirmed.

2.4	Where the Operator is unable to make contact with the RP at the 	premises from which the signal has been generated, the 	Emergency Line will be used to inform the Service of the alarm 	activation. The Service will then either wait for a 999 call to 	confirm a fire at the premises, dispatch a single fire 	appliance 	to investigate the alarm signal or dispatch a full 	attendance. This decision will be made 	by the Service using 	risk assessment principles and information relating to 	historical 	system reliability.

2.5	Where the Operator is unable to make contact with any occupier 	at the 	premises, a key holder should be informed and requested 	to attend to investigate the cause of the alarm.

- A person who is not a party to this Agreement has no rights under the Contracts (Rights of Third Parties) Act 1999 to enforce any terms of this agreement.

- The Parties agree the Agreement shall terminate:

  - In the event of any breach of the Agreement which is capable of remedy, on the party not in breach giving the other party written notice to remedy the breach and if within 30 days the other party shall have failed to remedy the breach to the reasonable satisfaction of the party not in breach, the party not in breach may then terminate the Agreement by giving the other party 28 days notice in writing.

  - In the event of any breach of the Agreement which is not capable of remedy, by the party not in breach giving the other party 28 days notice in writing.

  - By either party giving the other not less than 28 days notice in writing.

- Information Sharing

5.1	When required to do so by the Service, the Operator shall assist 		the 	Service at no additional charge in meeting its obligations 		under the Freedom of Information Act 2000 or any statutory 			modification or re-enactment thereof of any related guidelines or 		codes of practice in 	relation to this act.

5.2	The Operator confidentially protect all information belonging to 		or provided by the Service in connection with this contract and 		shall not disclose it to any third party without the express 			consent of the Provider or except to the extend permitted by law.

- Both parties shall be released from their respective obligations in the event of a national emergency, prohibitive governmental regulation or if any other cause beyond the reasonable control of either parties renders them unable to conform to this Agreement.

- If any provision of this Agreement is declared by any judicial or competent Authority to be void or illegal, the remaining provisions of this Agreement shall remain in full force and effect unless in the opinion of the Service the effect of such a declaration defeats the original intention of the parties, in which event the Service shall be entitled to terminate this Agreement by giving the Operator 28 days notice in writing.

- This Agreement supersedes any prior arrangement between the parties whether written or oral and any such prior arrangements are cancelled as of the Commencement Date.

- All notices and amendments given under this Agreement shall be in writing. Each notice shall be addressed to the address of the party concerned set out in this Agreement or to such other address as that party shall have previously informed the sender.

- This Agreement and all rights under it may only be assigned or transferred by the Service.

- This Agreement shall be governed by English law in every particular including formation and interpretation and shall be deemed to have been made in England. Any proceedings arising out of or in connection with this Agreement may be brought in any court of relevant jurisdiction in England and Wales.

- The failure by either party to enforce at any time or for any period any one or more of the terms or conditions of this agreement shall not be a waiver of them or of the right at any time subsequently to enforce the terms and conditions of this agreement.

- The Operator shall not assign or sub-contract and of the responsibilities laid out in this Agreement without the prior consent in writing of the Service. This consent is not to be unreasonably withheld.

- The Operator shall notify the Provider in writing immediately if the Operator enters administration, makes the decision to wind up, or the court makes an administration of a winding up order.

Signed for and on behalf of the Service	……………………………………

Date						……………………………………

Signed for and on behalf of the Operator	……………………………………

Date						……………………………………

APPENDIX 5 – Non-compliant ARC Referral Form Number 1

NON-COMPLIANT ARC REFFERAL

Alarm Receiving Centres work to a standard agreement with the Fire and Rescue Service which outlines various expectations of them in relation to call handling processes. This form should be used to inform the Protection & Organisational Performance department of any occasions when due to the level of co-operation or actions of Alarm Receiving Centres, Fire Control staff are unable to successfully apply the call challenging process detailed in the Unwanted Fire Signals policy.

| Name of Premises |  |
| --- | --- |
| Address |  |
| Postcode |  |
| Date of Incident |  |
| Time of Call |  |
| Incident Number |  |
| Alarm Receiving Centre |  |
| Reference(s) given by ARC |  |

Were any appliances mobilised to the AFA call?

Describe how the Fire Control Operator was unable to apply our Service policy to the call from an ARC

| COMPLETED BY |  |
| --- | --- |
| DATE |  |
| LOCATION \ DEPT |  |
| TELEPHONE |  |

| ACTIONS | Date: |
| --- | --- |
| Comments |  |

APPENDIX 6 – PDA Upgrade Request Form Number 2

EXEMPTION FROM SINGLE APPLIANCE MOBILISATION TO AFA CALLS

The standard response for an Automatic Fire Alarm call received by the Service is one pumping appliance. This form should be used where it is believed that due to special circumstances, a premises requires an enhanced attendance to AFA calls.

| Name of Premises |  |
| --- | --- |
| Address |  |
| Postcode |  |
| Responsible Person / Role of Person |  |
| Unitary Performance Area |  |

What PDA is requested?

Describe the Risks or Operational Procedures which require an enhanced PDA

| COMPLETED BY |  |
| --- | --- |
| DATE |  |
| LOCATION \ DEPT |  |
| TELEPHONE |  |

| AUTHORISATION |  |  |
| --- | --- | --- |
| Unitary Station Manager – (Protection) Decision: Y / N |  | Date: |
| Head of Protection & Organisational Performance Decision: Y / N |  | Date: |

Comments

| Forwarded to Mobilising Updates Inbox | Date: |
| --- | --- |

| GEN12 Completed (if required) | Date: |
| --- | --- |

| SSRI Updated (if required) | Date: |
| --- | --- |

APPENDIX 7 – Return to Standard PDA Request Form Number 3

RETURN TO SINGLE APPLIANCE MOBILISATION FOR AFA CALLS

This form should be used to identify enhanced PDA premises which have made suitable and sufficient changes to their fire safety management systems and have therefore removed the need for an enhanced PDA to AFA calls.

| Name of Premises |  |
| --- | --- |
| Address |  |
| Postcode |  |
| Responsible Person / Role of Person |  |
| Unitary Performance Area |  |

What is the current enhanced PDA for the premises?

Describe what actions have been taken to reduce the risks identified in the upgrade process

| COMPLETED BY |  |
| --- | --- |
| DATE |  |
| LOCATION \ DEPT |  |
| TELEPHONE |  |

| AUTHORISATION |  |  |
| --- | --- | --- |
| Unitary Station Manager – (Protection) Decision: Y / N |  | Date: |
| Head of Protection & Organisational Performance Decision: Y / N |  | Date: |

Comments

| Forwarded to Mobilising Updates Inbox | Date: |
| --- | --- |

APPENDIX 8 – Removal from Staged Monitoring Form Number 4

REMOVAL FROM STAGE 2 MONITORING PROCESS

Fire Safety Inspecting Officers should use this form to record premises which, following implementation Stage 2, are able to successfully demonstrate their ability to maintain an appropriate fire detection system and have made suitable adaptations to reduce the occurrence of Unwanted Fire Signals. This will allow the Service to respond to AFA calls without any response sanctions put in place through the staging process.

| Name of Premises |  |
| --- | --- |
| Address |  |
| Postcode |  |
| Responsible Person / Role of Person |  |
| Unitary Performance Area |  |
| Current Stage Allocation |  |

Describe the adaptations and process changes which been made to reduce the occurrence of Unwanted Fire Signals

| COMPLETED BY |  |
| --- | --- |
| DATE |  |
| LOCATION \ DEPT |  |
| TELEPHONE |  |

| AUTHORISATION |  |  |
| --- | --- | --- |
| Unitary Station Manager – (Protection) Decision: Y / N |  | Date: |

Comments

| Forwarded to Mobilising Updates Inbox | Date: |
| --- | --- |

APPENDIX 9 – List of sleeping risk/exempt premises

Boarding House/B&B for homeless/asylum seekers

Boarding House/B&B other

Boarding School accommodation

Children's Home

COMAH Sites

Domestic Premises

High-Rise Buildings

Hospital

Hostel (e.g. for homeless people)

Hotel/motel

Nurses'/Doctors' accommodation

Nursing/Care Residential Home

Other holiday residence (cottage, flat, chalet)

Other Residential Home

Prison

Retirement

Student Hall of Residence

Young offenders unit

Youth hostel